MODEL “EX”

with Exterior Operated Damper

EXTRUDED ALUMINUM BRICK VENTS

| QTY | ORDER SIZE | FINISHED DIMENSIONS (includes top and bottom ribs) | MINIMUM OPENING REQUIRED |
| --- | --- | --- | --- |

- Extruded aluminum to be 6063 - T5 Alloy.  Minimum .125” thick.

- Blades are 1” deep, set at 45( angles, 1” on center.

- For any unit over 30” wide - do not mortar jamb sections.

- Damper is manually operable from the front face with a flat head screwdriver; one operator every 20” wide.  Damper is not insulated and will not keep out prolonged cold temperatures.

| FINISH: | SCREENS: 18 X 14 aluminum mesh |
| --- | --- |
| SUNVENT INDUSTRIES By SYLRO SALES CORP. 1 Industrial Drive, #26 Pelham NH, 03076 Toll Free: 1-800-325-4115 In NH: 603-595-4556 Fax: 603-595-4778 www.sunventindustries.com info@sunventindustries.com |  | PROJECT: |
|  |  | LOCATION: |
|  |  | ARCHITECT: |
|  |  | CONTRACTOR: | JOB NO: |
|  |  | AGENT: | ORDER NO: |
|  |  | DATE: 4/23/2020 | REVISIONS: | DWG NO: EX w/OBD |

# Text boxes

FRONT VIEW

REAR VIEW